## Slide 1: ray-tracing of a beamline with SHADOW
Luca Rebuffi, Xianbo SHI (ANL)
Beamline Optics Design and Simulation Workshop
Hamburg, Germany
May 19-22, 2025

## Slide 2: Ray Tracing and Geometrical Optics
Geometrical optics, or ray optics, is a model of optics that describes electromagnetic radiation propagation in terms of rays, that are an abstraction useful for approximating the paths along which light propagates.
Rays propagate in straight-line paths as they travel in a homogeneous medium. They follow the laws of reflection and refraction or are absorbed.
Ray tracing is a method for calculating the path on rays that relies on approximate solutions to Maxwell's equations that are valid as long as the light waves propagate through and around objects whose dimensions are much greater than the light's wavelength. Ray theory does not describe phenomena such as interference and diffraction, which require wave theory.

## Slide 3: Ray Tracing and Geometrical Optics
Ray Tracing optical simulations are based on a Montecarlo approach:
Several thousands rays are randomly generated on a source plane, by choosing their initial position and direction, according to the characteristic of the synchrotron radiation source
Every ray is propagated through the optical system according to the laws of geometrical optics
The result is obtained by accumulating all the rays intercepting one ore more observation planes
p
y
z
x
q
x
y
z
Energy, Intensity
x
z
y

## Slide 4: Birth of Shadow (~1980)
Scientific motivation: Grating monochromator design, TGM, ERG, toroidal, spherical mirrors.
Monte Carlo ray tracing program designed to simulate X-ray optical systems
Requirements
  Accuracy and reliability
  Easy to use
  Flexibility
  Economy of computer resources
  VAX-11 Computers
Efficient MC approach
  Reduced number of rays
  Exact simulation of SR sources
  Vector calculus
  Modular
  User-interface
  Available to users
Two years development
Fortran 77+VAX/VMS extensions
Franco Cerrina
(♰2010)

## Slide 5: Shadow 3 (2010)
https://github.com/oasys-kit/shadow3
Manuel
Sanchez Del Rio
M. Sanchez del Rio, N. Canestrari, F. Jiang and F. Cerrina "SHADOW3: a new version of the synchrotron X-ray optics modelling package" Journal of Synchrotron Radiation Volume 18, Part 5 (September 2011) http://dx.doi.org/10.1107/S0909049511026306
Python3 API

## Slide 6: OASYS – ShadowOui (2014)
OASYS + Shadow3
Luca Rebuffi
Manuel
Sanchez Del Rio

## Slide 7: OASYS – Shadow4 (2024)
Standalone Shadow4 API
+
OASYS GUI AddOn
Fully developed in Python
100% Based on SYNED
Simplified and Optimized GUI
No Pre-Processor Files
S.I. units

## Slide 8: RAY-TRACING simulations: RAY
https://www.helmholtz-berlin.de/forschung/oe/np/optik-strahlrohre/arbeitsgebiete/ray_en.html
Peter Baumgärtel
Hartmut Schirmacher
Franz Schäfers

## Slide 9: RAY-TRACING simulations: XRT
http://www.mcxtrace.org
Konstantin Klementiev
https://xrt.readthedocs.io
Roman Chernikov

## Slide 10: Ray Tracing: Shadow and Shadow(Oui/4)
Source Plane
Image Plane
Optical Element
Basic Shadow :
Each optical element has an incident beam, that is located on a plane called Source Plane.
Each Optical Element has the axis system always oriented with Z normal to the optical surface, Y tangent to the surface along the direction of propagation of the beam and X tangent to the surface and normal to Z and Y.
The orientation of the optical surface is given by the angle of rotation 𝜶 along the Y axis and is relative to the axis system of the incident beam, as defined in the source plane.
The beam is traced up to Image Plane, which has the Y axis oriented as the direction of propagation of the beam (that will depend on the particular optics) and Z, X in the same plane of the same axis of the Optical Element.

## Slide 11: Beamline and Optical Elements for Synchrotron Radiation
mirrors
monochromators
slits
filters
sources
detectors
The radiation produced by the source must be collected and transported to the experimental station to perform the experiments. Typically, the radiation is focused to maximize the flux at the sample and minimize the spatial resolution. Moreover, the radiation is monochromatized to select one specific energy.

## Slide 12: Shadow(Oui/4): Sources
Fully customizable Sources
Shadow initial beam is generated by a Source element

## Slide 13: Shadow(Oui/4): Sources
Fake Geometrical Source
(Gaussian spatial + Gaussian divergency)
Single e-
Divergence:
Size:
Photon source:

## Slide 14: Shadow(Oui/4): Sources
789.938eV
806.060eV
814.121eV
Full Undulator

## Slide 15: Shadow(Oui/4): Mirrors

## Slide 16: Shadow(Oui/4): Mirrors
Shadow can include reflectivity after tracing the rays geometrically

## Slide 17: Shadow(Oui/4): Mirrors
M = p/q
q
p
R
r

## Slide 18: Shadow(Oui/4): Monochromators

## Slide 19: Shadow(Oui/4): Gratings
No model (yet) in SHADOW for grating efficiency

## Slide 20: Shadow(Oui/4): Crystals

## Slide 21: Shadow(Oui/4): Multilayers

## Slide 22: Shadow(Oui/4): X-Ray Lenses
p
q

## Slide 23: Shadow(Oui/4): X-ray Lenses
Single interface
Lens
Transfocator
1996 Experimental demonstration of CRL: A. Snigirev et al Nature 384 (1996) 49

## Slide 24: Manufacturing Errors
Direct link
Common format
SRW Widget
ShadowOui Widget
SYNED Widget
Surface Errors:
DABAM
Surface Errors:
Height Profile Simulator
Shadow4 uses Syned

## Slide 25: Advanced Features
Hybrid Method
Thickness Error Profiles for Refractive Elements
Bendable Mirrors
Loops for Optical Specifications (ShadowOui)
Loops for Thermal Load (ShadowOui)
X. Shi

## Slide 26: Shadow(Oui/4): References
L. Rebuffi, M. Sanchez del Rio, "ShadowOui: A new visual environment for X-ray optics and synchrotron beamline simulations”, J. Synchrotron Rad. 23 (2016). DOI:10.1107/S1600577516013837
​​​​​M. Sanchez del Rio, D. Bianchi, D. Cocco, M. Glass, M. Idir, J. Metz, L. Raimondi, L. Rebuffi, R. Reininger, X. Shi, F. Siewert, S. Spielmann-Jaeggi, P. Takacs, M. Tomasset, T. Tonnessen, A. Vivo and V. Yashchuk, "DABAM: an open-source database of X-ray mirrors metrology", J. Synchrotron Rad. 23 (2016). DOI: 10.1107/S1600577516005014
L. Rebuffi, X. Shi, M. Sanchez del Rio, R. Reininger, "A ray-tracing algorithm for ab initio calculation of thermal load in undulator-based synchrotron beamlines", J. Synchrotron Rad. 27 (2020). DOI: 10.1107/S160057752000778X
​​​​​L. Rebuffi, X. Shi, "Advanced simulation tools in the OASYS suite and their applications to the APS-U optical design", Proc. SPIE 11493, 1149303 (2020)​. DOI: 10.1117/12.256750
M. Sanchez del Rio, J. Reyes-Herrera, X. Shi and L. Rebuffi, “SHADOW4: the popular ray tracing revived for evolving synchrotron sources in fourth-generation storage rings ”, accepted for publication