## Slide 1: Advances in Soft X-Ray beamlines design
-
-
Software for Optical Simulations WORKSHOP Trieste October 3-7, 2016
-
-
-
Ruben Reininger
X ray Science Division / Advanced Photon Source Argonne National Laboratory
This version has been edited and adapted by Manuel Sanchez del Rio for: Beamline Optics Design and Simulation Workshop, DESY, Hamburg 19-22 May 2025

## Slide 2: Outlook
Toroidal Grating Optical Path Length Formulas
Formulas SGM
Vertical collimated PGM
Follath collimated PGM FVLS PGM
-
R. Follath and F. Senf, NIM A 390, 388 (1997)
https://doi.org/10.1016/S0168-9002(97)00401-4

## Slide 3: Outlook
Toroidal Grating Optical Path Length Formulas
Formulas SGM
Vertical collimated PGM
Follath collimated PGM FVLS PGM
-
SORRY
R. Follath and F. Senf, NIM A 390, 388 (1997)
https://doi.org/10.1016/S0168-9002(97)00401-4

## Slide 4: Toroidal Grating Optical Path Length
1 2 1 2 1 3 1 2
F = F00 + F01w + 2 F20w + 2 F02l + 2 F30w + 2 F21w l + ...
Fermat’s principle: Of all possible paths, light
takes the path which requires the shortest time. δF = 0
-

## Slide 5: Toroidal Grating Optical Path Length
1 2 1 2 1 3 1 2
F = F00 + F01w + 2 F20w + 2 F02l + 2 F30w + 2 F21w l + ...
Fermat’s principle: Of all possible paths, light
takes the path which requires the shortest time. δF = 0
-

## Slide 6: Toroidal Grating Optical Path Length
1 2 1 2 1 3 1 2
F = F00 + F01w + 2 F20w + 2 F02l + 2 F30w + 2 F21w l + ...
Fermat’s principle: Of all possible paths, light
takes the path which requires the shortest time. δF = 0
-

## Slide 7: Toroidal Grating Optical Path Length
1 2 1 2 1 3 1 2
F = F00 + F01w + 2 F20w + 2 F02l + 2 F30w + 2 F21w l + ...
Fermat’s principle: Of all possible paths, light
takes the path which requires the shortest time. δF = 0
-

## Slide 8: Toroidal Grating Optical Path Length
1 2 1 2 1 3 1 2
F = F00 + F01w + 2 F20w + 2 F02l + 2 F30w + 2 F21w l + ...
Fermat’s principle: Of all possible paths, light
takes the path which requires the shortest time. δF = 0
-

## Slide 9: Toroidal Grating Optical Path Length
-

## Slide 10: Resolution Terms and Magnification
-

## Slide 11: Resolution Terms and Magnification
-

## Slide 12: Resolution Terms and Magnification
-

## Slide 13: Resolution Terms and Magnification
-

## Slide 14: Source: present APS, 2 m ID
-
Unless specified, all examples use as source

## Slide 15: Spherical Grating Monochromator SGM
α
2θ
m=-1 (SHADOW 1)
β
-

## Slide 16: Slitless SGM
30 m
9.9 m
≈
α=87.3°, β=89.1°
-
01_SGM_1000eV.ows

## Slide 17: SGM Ray Tracing at 1000 eV
01_SGM_1000eV.ows

## Slide 18: SGM Ray Tracing at 1000 eV
∆λ =
m
d FWHM
r0
cos β
RP =
λ
∆λ
= 18000
01_SGM_1000eV.ows

## Slide 19: SGM Ray Tracing at 1000 eV
Sanity Check!
cos α(1000) r'
2.35Sz (1000) cos β(1000) r = 36 µm
r’
2.35 Sx(1000) r = 217 µm
01_SGM_1000eV.ows

## Slide 20: SGM Ray Tracings Resolution
Source
999.8 < E < 1000.2 eV
At 1000 eV
55 meV
-
01_SGM_1000eV.ows
3 µm

## Slide 21: SGM Ray Tracings Resolution
Source
999.8 < E < 1000.2 eV
At 1000 eV
55 meV
-
01_SGM_1000eV.ows
50 µm
100 µm
20 µm
Slit limited
Source limited
200 µm
3 µm

## Slide 22: SGM Ray Tracing at 1600 eV
β = —88.77o
α = 87.63o
-
Source
Source
E = 1600 eV
Sx = 280 µm
Sz = 154 µm
Sx’ = 18 µrad
Sz’ = 14 µrad
02_SGM_1600eV.ows

## Slide 23: SGM Ray Tracing at 1600 eV
Not at focus
Sanity Check!
✖
β = —88.77o
α = 87.63o
cos α(1600) r'
2.35Sz (1600) cos β(1600) r = 20 µm
-
Not at focus
✖
Source
Source
E = 1600 eV
Sx = 280 µm
Sz = 154 µm
Sx’ = 18 µrad
Sz’ = 14 µrad
02_SGM_1600eV.ows

## Slide 24: SGM Ray Tracing at 1600 eV
Not at focus
Sanity Check!
✖
β = —88.77o
α = 87.63o
cos α(1600) r'
2.35Sz (1600) cos β(1600) r = 20 µm
-
Not at focus
✖
Source
Source
E = 1600 eV
Sx = 280 µm
Sz = 154 µm
Sx’ = 18 µrad
Sz’ = 14 µrad
Second Sanity Check!
02_SGM_1600eV.ows

## Slide 25: SGM Ray Tracing at 1600 eV, slit moved, corrected
In the SGM:
Exit slit need to move to keep focus (does not correct coma aberration)
F20(1600eV)=0 r' = 11046 mm
Sanity Check!
cos α(1600) r'
2.35Sz (1600) cos β(1600) r = 22 µm
-
02_SGM_1600eV.ows

## Slide 26: Plane Grating
Plane grating (without VLS) does not focus
Focus independent of grating ➠ Fixed focal plane
Grating magnification c-1 can be changed with plane mirror
c =
cos β
cos α
Grating Equation:
mλ
2
( — sin β) = 1 —
d
(1 — sin2 β
c2
-
)

## Slide 27: Collimated PGM, vertical plane; c=2
Toroidal Mirror:
Collimates beam in meridional direction (vertically) Focuses in sagittal direction at slit (horizontally)
Plane Mirror + Plane grating
Controls grating magnification, c-1 and wavelength
Cylindrical Mirror
Focuses the collimated beam onto the fixed exit slit Reflectivities in SXR not optimal due to many electronic transition in this range
-
03_CollimatedPGM1000eVc2_Vertical.ows
28 m 2 m 1 m
≈
9 m
≈

## Slide 28: Collimated PGM, vertical plane; c=2
-
88.5°
up
87.8°
down
α=88.5°, β=87.1°
up
88.5°
down
03_CollimatedPGM1000eVc2_Vertical.ows
28 m 2 m 1 m
≈
9 m
≈

## Slide 29: Collimated PGM, vertical plane; c=2
-
88.5°
up
87.8°
down
α=88.5°, β=87.1°
up
88.5°
down
03_CollimatedPGM1000eVc2_Vertical.ows
28 m 2 m 1 m
≈
9 m
≈
5.8 µm
Coma

## Slide 30: Collimated PGM, vertical plane; c=2
-
03_CollimatedPGM1000eVc2_Vertical.ows

## Slide 31: Collimated PGM, vertical plane; c=2
With SE on Toroid
-
03_CollimatedPGM1000eVc2_Vertical.ows

## Slide 32: Collimated PGM, vertical plane; c=2
With SE on Toroid
Without SE on Toroid
-
03_CollimatedPGM1000eVc2_Vertical.ows

## Slide 33: Follath Collimated PGM, TM, CM: hor plane; c=2
88.5°
left
-
87.8°
down
α=88.5°, β=87.1°
up
88.5°
left
04_CollimatedPGM1000eVc2.ows
28 m 2 m 1 m
≈
9 m
≈

## Slide 34: Follath Collimated PGM, TM, CM: hor plane; c=2
5.8 µm
Mirror rotation relative to grating xz
88.5°
left
-
87.8°
down
α=88.5°, β=87.1°
up
88.5°
left
No Coma
04_CollimatedPGM1000eVc2.ows
28 m 2 m 1 m
≈
9 m
≈

## Slide 35: Follath Collimated PGM, TM, CM: hor plane; c=2
-
04_CollimatedPGM1000eVc2.ows
28 m 2 m 1 m
≈
9 m
≈
With SE
No SE
Forgiveness Factor: ×θ

## Slide 36: Collimated PGM, TM, CM: horizontal plane; c=5
Without slope errors
-
5.8/(5/2)=2.32
Astigmatic Coma
α=89.5°, β=87.4°
With slope errors
05_CollimatedPGM1000eVc5.ows

## Slide 37: FVLSPGM
Focusing Variable Line Spacing Plane Grating Monochromator
-

## Slide 38: FVLSPGM
The defocus equation can be solved for all wavelengths by illuminating the grating at the correct angle of incidence.
c is not a free parameter.
https://doi.org/10.1016/j.nima.2004.09.007 R. R & A. R. B. C, NIM A 538, 760 (2005)
c=2 at 600 eV  b2=1.44×10-4 mm-1
Solving coma at one wavelength enough Coma zero at 600 eV  b3=1.3×10-8 mm-2
-

## Slide 39: FVLSPGM
28 m
2 m
0.3 m
≈
10 m
≈
Slit plane
88.5°
left
-
87.8°
down
α=88.5°, β=87.1°
up
Horizontal focus after slit
Heat Absorber

## Slide 40: FVLSPGM
28 m
2 m
0.3 m
≈
10 m
≈
Slit plane
88.5°
left
-
87.8°
down
α=88.5°, β=87.1°
up
Horizontal focus after slit

## Slide 41: FVLSPGM with Heat Load
Slit plane
Without
With
-

## Slide 42: Deformation: Heat load absorbed on PM, c=2
0.40
0.35
0.30
0.25
0.20
0.15
Deformation (µm)
-60 -40 -20 0 20
Mirror Length (mm)
40
60
-15
-
-10
-5
0
5
10
15
Slope (µrad)
R=-30 Km
Total Absorbed Power 35 W
Virtual Source at 28.52 m

## Slide 43: FVLSPGM with Heat Load and Corrected
Without
-
With
α=88.52843° β=87.05389°

## Slide 44: FVLSPGM with Heat Load and Corrected
Without
With
With Corrected
-
α=88.52843° β=87.05389°
α=88.53789° β=87.0586°
R.R, NIM A 649, 139 (2010)

## Slide 45: Summary
SGM requires a movable exit slit
Collimated PGM can be used with fixed magnification or following grating efficiency
The slope errors in the mirrors impair the resolution in vertical PGM mirror.
The heat induced deformations in Follath collimated PGM impair the resolution. Could be solved by moving slit.
Focusing VLS PGM
Can correct heat induced deformation Cannot change the magnification
Formulas for all monochromator types are included in Oasys
-